## Slide 1: AIR QUALITY MONITORING SYSTEM
Problem Statement :
Solutions to detect air quality and improve it.
Category : Hardware
VELAMMAL ENGINEERING COLLEGE , CHENNAI

## Slide 2: Team Details
DEPARTMENT -INFORMATION TECHNOLOGY
Team Members
KAVYA S/3 RD year
LAVANYA SREE S /3 RD year
LETHIKA R /3 Rd year
DR J.SATHYA PRIYA
ASSISTANT PROFESSOR

## Slide 3: Need of the Project
The level of air pollution is increasing exponentially due to rapid increase in number of industries, factories and vehicles.
The objective of this project is to design a system which can detect the quality of air in surroundings.
This system can further warn the user when the air quality goes below certain level.
The main motto of the project is to make a smart air pollution monitoring system that constantly keeps track of air quality near ports and displays the air quality measured on an LCD screen.
This monitoring device can deliver real-time measurements of air quality and helps in bringing down pollution in the cities.

## Slide 4: Literature Survey
In the existing air quality monitoring system, only temperature, humidity, and CO2 sensors are used to monitor.
The main idea behind this project is to monitor the air quality across ports.
As we all know, ports are the major places where import and export take place.
In order to monitor this place, we should calculate the area for which the air quality is to be maintained and collect the optimal range of air quality to be maintained.
To achieve this, the sensors used are the CH4 (methane) sensor, the gas leakage sensor, the propane sensor, the carbon monoxide sensor, and the CO2 sensor.
A GSM module is used to send the live data to the port manager to monitor the quality of the air across the port.
In case of any emergency, an alert message can be sent.

## Slide 5: Proposed Idea /Solution
The MQ135 Sensor will be connected to Arduino then it will sense the gases, and we will get the Pollution level in PPM (parts per million). MQ135 gas sensor gives the output in form of voltage levels and we need to convert it into PPM. Sensor was giving us value of 90 when there was no gas near it and the safe level of air quality is 350 PPM and it should not exceed 1000 PPM.
When the value will be less than 1000 PPM, then the LCD and webpage will display “Fresh Air”. Whenever the value will increase 1000 PPM, then the buzzer will start beeping and the LCD and webpage will display “Poor Air, Open Windows”. If it will increase 2000 then the buzzer will keep beeping and the LCD and webpage will display “Danger! Move to fresh Air”.
The innovation behind this idea is that we are detecting toxic gases emitted from coals, and medicinal waste, and by detecting this we can monitor the quality of air even good .This can be applied in many import and export industries, shipping industries, and ports. By doing so, we can monitor the air and health conditions of the people across the area can be maintained.

## Slide 6: Objectives of Project
The architecture proposed in the system will help in analyzing the air quality for the ports in the real time and it will help the authorities to get the accurate data for the action.
This monitoring system can not only be used in ports it can be implemented in other fields also. Many cities around the world have adopted the use of pollution sensors to address air pollution.
It is likely that over the coming years, sensors will become more common place, with cities implementing innovative strategies such as installing sensors onto public transport to help protect residents from the harmful effects of air pollution exposure.

## Slide 7: Methodology/Mechanism/ Technology
The Arduino Uno is a microcontroller board based on the ATmega328 (datasheet). It has 14 digital input/output pins (of which 6 can be used as PWM outputs), 6 analog inputs, a 16 MHz ceramic resonator, a USB connection, a power jack, an ICSP header, and a reset button.
The MQ 135 sensor can be implemented to detect smoke, benzene, vapors, and other hazardous gases. It can detect various harmful gases.
It can be used for air quality monitoring, noxious gas detection, home air pollution detection, industrial pollution detection, portable air pollution detection, etc.
Ultrasonic sensors are used primarily as proximity sensors.
They can be found in automobile self-parking technology and anti-collision safety systems. Ultrasonic sensors are also used in robotic obstacle detection systems, as well as manufacturing technology.
The CozIR®-A 2,000 ppm CO2 sensor is designed to monitor carbon dioxide levels indoors. It is ideal for monitoring CO2 in buildings, schools, offices, or anywhere indoor air quality is important for the personal comfort of the occupants.
The potentiometer is used to control the screen contrast of the LCD.
To calibrate Air quality, use the onboard potentiometer to adjust the load resistance on the sensor circuit.

## Slide 8: Design Modeling /Prototype image

## Slide 9: Parts /Elements involved
SOFTWARE REQUIREMENTS: C
HARDWARE REQUIREMENTS:
Arduino,
Breadboard,
Laptop,
MQ135,
MQ02,
Potentiometer,
Cozier,
Ultrasonic sensor,
LCD.

## Slide 10: Budget
THE APPROXIMATE BUDGET FOR MONITORING THE QUALITY OF AIR COMES AROUND 5000 – 6000 INR.
THE TOTAL COST INVOLVES THE COST OF ARDUINO UNO,MQ135,MQ02,COZIER CO2 SENSOR, ULTRASONIC SENSOR,GSM MODULE,BUZZERS,LCD, POTENTIOMETER,BREAD BOARD,JUMPER WIRES.

## Slide 11: Project Outcome
ADVANTAGES:
Technical feasibility- The technical requirement for the system is economic and it does not use any other additional Hardware and software. Behavioral feasibility- The system working is quite easy to use and learn due to its simple but attractive interface. Users require no special training for operating the system. Economic feasibility- The air quality monitoring system being developed is economic because it keep the air quality in the Ports at normal level and would be easy to take measures to bring down the pollution in the cities. Global System for Mobile Communication (GSM) keeps them updated about the quality of air either through image or voice note.
APPLICATIONS:
This monitoring device can deliver real-time measurements of air quality and helps in bringing down pollution in the cities.
The main motto of the project is to make a smart air pollution monitoring system that constantly keeps track of air quality near ports and displays the air quality measured on an LCD screen.
This device gives an optimal solution for everyone by keep tracking of the quality of air in the air conditioned bus.

## Slide 12
THANK YOU